1a. Power controllers (to supply 3 sensors with a constant 0.200 W)

| All Electronics Corporation 905 S. Vermont Ave Los Angeles, CA 90006 | Tel: 1-800-826-5432 Fax: 1-818-781-2653 www.allelectronics.com |
| --- | --- |
| Catalog Number | Unit price | Min. order | Description | Number needed |
| 293-12 | 0.035 ea. |  | 1/2 W, 12 Ω Fixed resistor | 1X |
| 293-47 | 0.035 ea. |  | 1/2 W, 47 Ω Fixed resistor | 1X |
| 293-180 | 0.035 ea. |  | 1/2 W, 180 Ω Fixed resistor | 1X |
| MTPS-1K | 1.25 ea. |  | 1/2 W, 1KΩ, trimpot variable resistor, upright | 1X |
| 100R25 | 0.15 ea. |  | 25 V, 100μF polarized capacitor, radial | 2X |
| ??? | -- |  | Voltage regulator, 1.2-37V, 1.5A, TO-220 | 1X |
| 1N4001 | 0.05 ea. |  | 1A, 50V diode | 2X |
| TER-203 | 0.45 .ea |  | 3 position terminal blocks | 3X |
| GMA-1 | 0.12 ea. |  | 1A, 250V fuses | 1X |
| FC-PCA | 0.08 ea. |  | Fuse clips | 2X |
| PC-4 | 2.00 ea. |  | 3” x 4.5” .1” spacing, 0.042” hole perfboard | 1X |
| PS-1252 | 25.00 ea. |  | 12V 5A Regulated Power Supply | < 1X |
| Most of these parts are also available elsewhere, but you may need to order the Voltage Regulators from: |
| Hosfelt Electronics Inc. 2700 Sunset Blvd. Steubenville, OH 43952 | Tel: 1-800-524-6464 Fax: 1-800-524-5414 www.hosfelt.com |
| LM317T | 0.45 ea. | 100 | Voltage regulator, 1.2-37V, 1.5A, TO-220 | 1X |
| 1/2W12 | 0.04 ea. | 200 | 1/2 W, 12 Ω Fixed resistor |  |
| 1/2W47 | 0.04 ea. | 200 | 1/2 W, 47 Ω Fixed resistor |  |
| 1/2W180 | 0.04 ea. | 200 | 1/2 W, 180 Ω Fixed resistor |  |
| 38-143 | 1.35 ea. | 1 | 1/2 W, 1KΩ, trimpot variable resistor, upright |  |
| 15-511 | 0.29 ea. | 100 | 25 V, 220μF polarized capacitor, radial |  |
| 1N4001 | 0.03 ea. | 1000 | 1A, 50V diode |  |
| 74-483 | 0.41 .ea | 100 | 3 position terminal blocks |  |
| 31-325 | 0.75 per 5 | 5 | 1A, 250V fuses |  |
| Radio Shack Various Locations |  |  |
|  |  |  | Copper wire, coated |  |

1b. Commercially available power controllers (to supply up-to 32 sensors with a constant 0.200 W)

| Dynamax 10808 Fallstone Suite #350 Houston, TX 77099 | Tel: 1-800-727-3570, Fax: 1-281-564-5200 www.dynamax.com, Contact: Mike McClung, mcclung@dynamax.com |  |
| --- | --- | --- |
| AVRD | 325.00 | 1 | Dual Voltage Regulator, Controlable | 1 |

1c. Commercially available power controllers (to supply 3 sensors with a constant 0.200 W)

http://www.simplecircuitboards.com/Specialty%20Boards.html

2. Sap Flow Sensors (heating and reference)

| Omega Engineering, Inc. One Omega Drive Box 4047 Stamford, CT 06907-0047 | Tel: 1-800-220-4242 Fax: 1-203-359-7700 www.omega.com |
| --- | --- |
| TT-T-36 | $450/1000’ | Copper-constantan thermocouple wire 0.019 x 0.030” (0.48x0.76 mm) |
| TFCC-005-500 | $119/500’ | Constantan heating wire 0.005” (0.12 mm) diameter |
| Becton-Dickenson 1 Becton Drive Franklin Lakes, NJ 07417 | 1-800-237-2762 www.bd.com |
| 305187 | ~ $10/100 | 19G 1½ Stainless steel hypodermic needles |
| Small Parts, Inc. P.O. Box 4650 Miami Lakes, FL 33014-0650 | Tel: 1-800-220-4242 Fax: 1-800-423-9009 www.smallparts.com |
| B-TTRA-2-36-1 | $2.20/36” | Aluminum tubing for sensor sleeves 3/32” Outside diameter, 0.014” nominal wall |
| Home Depot North Pointe and elsewhere |  |  |
|  |  |  | Krazy Glue |  |

3. Sensor connector cable

| Digi-Key Corporation 701 Brooks Ave. South Thief River Falls, MN 56701-0677 | Tel: 1-800-344-4539 Fax: 1-218-681-3380 www.digikey.com |
| --- | --- |
| C1352-1000-ND | $236.35/1000’ | Copper cable 2-pair shielded PVC 22 AWG |

| www.alliedelec.com Allied elec stock #: 216-1456 each pair shielded (from Belden Wire and cable) manufacturer part# 8723 | 919-851-2131 Fax: 919-851-2154 www.alliedelec.com |
| --- | --- |
|  | $35/100’ | 4-core connecting cable: 22AWG |